| Sample Permit | Institute for xyz chemistry |
| --- | --- |
| for the execution of: in area: Laboratory 47/11 Person responsible for area: Prof. N. Sample | Welding work Work on the ventilation equipment/fume hoods Work on the drinking water supply Work on the water supply to the emergency showers …..................................................................... |
| To be performed by: O/TL Building Services | Responsible: Dipl.-Ing. N. Sample |
| This permit is valid from DD.MM.YYYY at hh.mm a.m./p.m. until DD.MM.YYYY at hh.mm a.m./p.m. No work may be carried out prior to the beginning of the duration of validity of this permit or after its expiry. |
| Measures to be taken by the executing staff members: | Briefing of all affected persons by: Mr Sample Personal protective equipment: Protective goggles, neoprene gloves Special protective measures: Check for contamination in gaps and fans .…………........................................................................................... |
| Measures to be taken in affected area: | Briefing of all affected persons by: Prof. Sample About switching off the laboratory ventilation and the fume hoods. The following work must not be performed in the corresponding period: See below Special protective measures: No work with hazardous substances, inert and cryogenic gases may be performed. |
| Date, signatures of the responsible persons: .............................................................. …............................................................................. |
| For processing | For section |